|  | WHSMP09-FOR-05 Confined Space Entry Permit |  |
| --- | --- | --- |

This permit applies to all confined space work on SCU property as defined under the WHS Regulation.

No excavation work may commence without an approved Permit-to-Work issued under WHSMP09.

ALL WORK IS TO CEASE ON THE SOUNDING OR RAISING OF A FIRE OR OTHER EMERGENCY ALARM

| PERMIT DETAILS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PERMIT HOLDER | Permit Holder: |  |  |  |  |  |  |  |  |  | Campus: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Building / Asset ID: |  |  |  |  |  |  |  |  |  | Exact Confined Space Location: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Scope of Work: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Description of Space (tank, pit, duct, vessel etc.): |  |  |  |  |  |  |  |  |  | Contractor / Work Unit: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Permit is Valid from: |  |  |  |  |  |  |  |  |  | Until: |  |  |  |  |  |  |  |  | Date Issued: |  |  |  |
|  | ISOLATION & ENERGY CONTROL (LOTO VERIFICATION) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Hazard Source |  |  | Isolation Method |  |  | Lock/Tag Applied |  |  |  | Verified By |  |  |  |  |  |  |  | Time |  |  |  |  |
|  | Electrical |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Hydraulic |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Pneumatic |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Gas |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Water / Steam |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Mechanical Drives |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Chemical Lines |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Fire Suppression Systems |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Other |  |  |  |  |  | ☐ Yes ☐ No |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ☐ All isolation points physically verified ☐ Zero energy confirmed Entry Supervisor Signature:_____________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ATMOSPHERIC TESTING (Testing conducted by (competent person): |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name: Gas Monitor Serial No: Calibration Date: Bump Tested Before Use: ☐ Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Initial Test Results (Before Entry) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Time |  | O2 (19.5–23.5%) |  |  | LEL (<5%) |  | CO (<30ppm). | H2S (<10ppm) |  |  |  |  | Other |  |  |  | Safe to Enter (Y/N) |  |  |
|  | Continuous Monitoring Required? ☐ Yes ☐ No Personal Gas Monitoring Required? ☐ Yes ☐ No Retesting Interval (if required): __________ If the atmosphere becomes unsafe – ALL PERSONS MUST EXIT IMMEDIATELY. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | VENTILATION CONTROLS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ☐ Natural ventilation adequate ☐ Mechanical ventilation installed |  |  |  |  |  |  |  |  | Type / Location: ☐ Ventilation operational before and during entry Verified by:____________________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | PERSONAL PROTECTIVE EQUIPMENT |  |  |  |  |  |  |  | COMMUNICATION & STANDBY ARRANGEMENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Tick mandatory PPE: ☐ Safety helmet ☐ Eye protection ☐ Gloves ☐ Protective clothing ☐ Safety footwear ☐ Hearing protection ☐ Respiratory protection – Type: __________ ☐ SCBA ☐ Harness and retrieval line ☐ Other: __________ |  |  |  |  |  |  |  | Standby Person Name(s): Trained in Confined Space & Rescue? ☐ Yes Communication Method: ☐ Two-way radio ☐ Hard-line ☐ Visual ☐ Other: __________ ☐ Continuous communication maintained ☐ Standby person has no other duties Number of Standby Personnel: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | EMERGENCY & RESCUE ARRANGEMENTS |  |  |  |  |  |  |  |  | HOT WORK (IF APPLICABLE) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Rescue Plan Attached? ☐ Yes Rescue Method: ☐ Non-entry retrieval system ☐ Entry rescue team ☐ External emergency services Rescue equipment on site and inspected? ☐ Yes Location of Rescue Equipment: Nearest hospital / emergency contact details: |  |  |  |  |  |  |  |  |  | Hot Work Required? ☐ Yes ☐ No If Yes: Hot Work Permit Number: Fire watch appointed: ☐ Yes ☐ Atmospheric testing confirms safe for hot work (LEL below limit) and continuous monitoring in place. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Entrant Register |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name; Role; Competency Confirmed; Time in; Time out; Initials. |
|  | Access control / signage |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | ☐ barricading/signage to prevent unauthorised entry ☐ exclusion control around the opening |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

|  | WHSMP09-FOR-05 Confined Space Entry Permit | Property Services |
| --- | --- | --- |

| PERMIT AUTHORISATION |  |  |
| --- | --- | --- |
| ISSUER | Permit Issuer must be an authorised SCU officer under WHSMP09. Permit Issuer confirms: - Scope reviewed against risk assessment - A task-specific risk assessment has been completed and reviewed - Where the work involves High Risk Construction Work, a SWMS has been prepared and reviewed prior to permit issue - Controls verified onsite (where required) - Conflicts with other permits assessed - Duration limited to specified timeframe - Isolations verified - Atmosphere tested and safe - Rescue plan in place - Personnel competent and briefed I, the permit issuer, approve the confined space work (as listed above) to proceed. Name of Permit Issuer: Signature: Date of Issue: |  |
| PERMIT DECLARATION |  |  |
| PERMIT HOLDER | As the Permit Holder, I acknowledge and understand the conditions of this permit and: - Am competent to coordinate this work in accordance with this permit and associated risk assessment. - Will implement all the controls highlighted above and outlined in the risk assessment. - Shall share this permit and associated risk assessment with the other worker/s to ensure they understand the conditions of this permit. Name of Permit Holder: Signature: Date: My signature below acknowledges that I agree and understand the conditions of this permit (other worker/s). Name of worker: _ Signature: Date: Name of worker: _ Signature: Date: Name of worker: _ Signature: Date: |  |
| PERMIT SUSPENSION (IF CONDITIONS CHANGE) |  |  |
|  | Reason for Suspension: Time Suspended: | Atmosphere Retested: ☐ Yes Re-authorised By: |
| FINALISATION |  |  |
| PERMIT HOLDER | As the Permit Holder, I confirm all work is complete, all workers have signed off the Permit and the worksite has been left clean and tidy. ☐ All persons accounted for ☐ Space vacated ☐ Tools removed ☐ Isolations removed safely ☐ Plant returned to service ☐ Work completed Entry Supervisor Name: Signature: Date: SCU Representative Name: Signature: Date: |  |