|  | WHSMP09 – FOR – 09 Asbestos & ACM Disturbance |  |
| --- | --- | --- |

Applies to – All works involving asbestos or suspected asbestos-containing material (ACM) across SCU campuses (NSW and QLD)

STOP WORK RULE

No asbestos work may commence without an approved WHSMP09 Permit-to-Work and this completed supplement.

ALL WORK IS TO CEASE ON THE SOUNDING OR RAISING OF A FIRE OR OTHER EMERGENCY ALARM. Developed in accordance with:

• HRP03 Asbestos Management Procedure

• WHS Regulation Chapter 8 – Asbestos

• How to Safely Remove Asbestos Code of Practice

| PERMIT DETAILS |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Permit Holder: __________________________ | Company: __________________________ |  |  |
|  | Supervisor: __________________________ | Location of Works: __________________________ |  |  |
|  | Building / Room: __________________________ |  |  |  |
|  | TYPE OF WORK: |  |  |  |
|  | ☐ Bonded ACM removal ☐ Friable ACM removal ☐ Penetration through ACM | ☐ Ceiling space entry with ACM present ☐ Soil contamination ☐ Emergency disturbance ☐ Other: __________________________ |  |  |
| PERMIT HOLDER | PRE-WORK VERIFICATION |  |  |  |
|  | ☐ Asbestos Register reviewed and current ☐ Refurbishment / Demolition Survey obtained (if required) | ☐ Survey aligns with scope of works ☐ Area inspected by competent person |  |  |
|  | Material confirmed as: |  |  |  |
|  | ☐ Bonded Asbestos Containing Material (ACM) ☐ Friable ACM ☐ Suspected ACM ☐ Confirmed non-ACM – laboratory report attached | ☐ Laboratory report attached where applicable ☐ Scope of works aligns with survey findings |  |  |
|  | Mandatory Hold Point |  |  |  |
|  | Work must not proceed if: - Material differs from register - Survey not available | - Suspect material identified - Scope exceeds assessed area |  |  |
|  | LICENSING & COMPETENCY |  |  |  |
|  | Removalist licence: ☐ Class A ☐ Class B ☐ Not required – justification recorded Licence number: __________________________ | ☐ Licensed supervisor on site ☐ Workers trained in asbestos awareness ☐ Evidence of competency sighted ☐ Health monitoring requirements confirmed ☐ Contractor SWMS reviewed and accepted by SCU |  |  |
|  | REGULATORY NOTIFICATION |  |  |  |
|  | SafeWork notification required: ☐ Yes ☐ No Notification reference number: __________________________ ☐ 5-day notification requirement met ☐ Emergency exemption justification documented |  | ☐ Adjacent occupants notified ☐ SCU stakeholders notified – Property Services / WHS / Facilities |  |
|  | WORK AREA CONTROLS |  |  |  |
|  | ☐ Work area barricaded and asbestos warning signage installed ☐ Access restricted to authorised personnel only ☐ Negative pressure enclosure installed (if required) ☐ Decontamination unit installed (if required) ☐ Electrical isolation confirmed |  | ☐ HVAC systems isolated ☐ Wet removal methods implemented ☐ No dry cutting or uncontrolled disturbance permitted ☐ Drop sheets and fibre containment measures installed ☐ Tools controlled to prevent fibre release |  |
|  | PPE & RPE |  |  |  |
|  | Respiratory protection: ☐ P2 disposable respirator ☐ Half-face respirator ☐ Full-face respirator ☐ Fit testing confirmed ☐ Disposable Type 5/6 coveralls |  | ☐ Disposable gloves ☐ Boot covers ☐ Eye protection Reusable PPE must not leave the controlled area unless decontaminated |  |
|  | WASTE MANAGEMENT |  |  |  |
|  | ☐ Double-bagged in 200um labelled asbestos bags ☐ Wrapped and sealed appropriately ☐ Waste storage secured ☐ Licensed transport contractor engaged |  | ☐ Licensed disposal facility confirmed ☐ Waste tracking documentation attached ☐ Area visually inspected prior to clearance |  |
|  | AIR MONITORING & CLEARANCE |  |  |  |
|  | Independent licensed asbestos assessor engaged: ☐ Yes ☐ No Air monitoring: ☐ Control monitoring ☐ Clearance monitoring ☐ Not required – justification recorded ☐ Clearance certificate attached |  | MANDATORY The area must not be reoccupied until written clearance has been issued. |  |
|  | UNEXPECTED DISCOVERY |  |  |  |
|  | If unidentified suspect ACM is discovered: - Stop work immediately - Isolate and barricade the area - Prevent access |  | - Notify Property Services and WHS - Arrange sampling by a competent person - Do not resume until written approval is issued |  |
|  | SIMULTANEOUS / INTERFACING ACTIVITIES |  |  |  |
|  | ☐ Adjacent contractors notified ☐ Other works suspended where fibre migration risk exists |  | ☐ Shared services isolated ☐ Communication plan implemented |  |
|  | COMPLETION & HANDOVER |  |  |  |
|  | ☐ Removal completed in accordance with the approved control plan ☐ Waste disposal dockets attached ☐ Clearance certificate attached |  | ☐ Asbestos Register updated ☐ Property Services notified of completion |  |

|  | WHSMP09 – FOR – 09 Asbestos & ACM Disturbance | Property Services |
| --- | --- | --- |

| PERMIT AUTHORISATION |  |
| --- | --- |
| ISSUER | I, the Permit Issuer, approve this Asbestos & ACM Disturbance work to proceed and confirm that: ☐ Applicable documentation has been reviewed (Asbestos Register, survey, SWMS and risk assessment where required) ☐ Work area controls and containment measures have been verified ☐ Regulatory requirements and notifications have been satisfied ☐ A task-specific Risk Assessment has been completed and reviewed ☐ A SWMS has been prepared where required and aligns with the risk assessment Name of Permit Issuer: ______________________ Signature: ______________________ Date of Issue: ______________________ |
| PERMIT DECLARATION |  |
| PERMIT HOLDER | As the Permit Holder, I acknowledge and understand the conditions of this permit and: - Declare I am competent to coordinate this work in accordance with this permit and associated risk assessment. - Will implement all the controls highlighted above and outlined in the risk assessment and as specified by the permit authority. - Shall share this permit and associated risk assessment with the other worker/s to ensure they understand the conditions of this permit. - I confirm the asbestos work will be carried out in accordance with the approved asbestos removal control plan and this permit. - Will immediately cease operations if any of the above conditions cannot be met. Name of Permit Holder: Signature: Date: My signature below acknowledges that I agree and understand the conditions of this permit (other worker/s). Name of worker: _ Signature: Date: Name of worker: _ Signature: Date: Name of worker: _ Signature: Date: |
| FINALISATION |  |
| PERMIT HOLDER | As the Permit Holder, I confirm all work is complete, all workers have signed off the Permit and the worksite has been left clean, tidy and all temporary exclusion and clearance controls have been safely removed. ☐ Removal completed in accordance with approved control plan ☐ Waste disposal dockets attached ☐ Clearance certificate attached ☐ Asbestos Register updated ☐ Property Services notified of completion Name of Permit Holder: Signature: Date: |
| FEEDBACK |  |
| NON- COMPLIANCE |  |