|  | WHSMP09- FOR-10-Live Electrical Work Permit |  |
| --- | --- | --- |

A Live Electrical Work Permit MUST be completed by SCU staff or contractors scheduled to undertake work on energised electrical equipment.  All permits must be in line with WHS legislative requirements and approved by an authorised SCU Permit Issuer.

A MINIMUM OF TWO PERSONS ARE REQUIRED FOR ALL LEWP (OBSERVER PLUS WORKER)

| PERMIT DETAILS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PERMIT HOLDER | Permit Start Date: |  |  |  | Permit End Date: |  |  |  |  |  |  |  |  |
|  | Permit Holder: Staff Contractor |  |  |  | Company Name: |  |  |  |  |  |  |  |  |
|  | Worker Name: |  |  |  | Mobile: |  |  |  |  |  |  |  |  |
|  | Worker Name: |  |  |  | Mobile: |  |  |  |  |  |  |  |  |
|  | Worker License Details: |  |  |  | Works Supervisor: |  |  |  |  |  |  |  |  |
|  | Description of Works: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Location Description: |  |  |  |  | Work Order Number: |  |  |  |  |  |  |  |
|  | Works Methodology: (in a few sentences, outline the step By step approach you are taking) |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Equipment to be Used: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | SWMS completed and attached Yes No |  |  |  | Have the controls within the SWMS been discussed with each person undertaking Yes No the work? |  |  |  |  |  |  |  |  |
|  | Emergency Contact: |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Confirm all workers have: - Lock-out-tag-out training (HRP22) - Low voltage rescue / CPR certification - Proximity testing training, as required by SCU Yes No |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Prestart Review |  |  |  |  |  |  | Tick |  |  |  |  |
|  | Pre-start meeting with nominated Works Supervisor completed. |  |  |  |  |  |  |  |  |  |  |  |
|  | Lock-out procedures and suitable signage in place. |  |  |  |  |  |  |  |  |  |  |  |
|  | Exclusion zone marked and confirmed with suitable barriers in place. |  |  |  |  |  |  |  |  |  |  |  |
|  | Testing equipment calibrated. |  |  |  |  |  |  |  |  |  |  |  |
|  | Consultation with other PCBU(s) on site (if applicable), as mandated by HRP07. |  |  |  |  |  |  |  |  |  |  |  |
|  | Critical electrical controls (CC01-CC06) implemented. |  |  |  |  |  |  |  |  |  |  |  |
|  | Two-person rule enforced during live work. |  |  |  |  |  |  |  |  |  |  |  |
|  | SCU has approved the works to proceed and notified those in the general area. |  |  |  |  |  |  |  |  |  |  |  |
|  | Mark each control with a Y, N or N/A. |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Cat 1 PPE |  | Safety Eyewear |  | Is there a risk of electrical shock or electrocution? |  |  |  |  |  |  |  |
|  | Electrical Worker Gloves |  | Barricades & Warning Signs |  | Is all electrical test equipment checked and in working order? |  |  |  |  |  |  |  |
|  | Safety Boots |  | Equipment Checked |  | Is a location-specific retrieval method required? |  |  |  |  |  |  |  |
|  | Electrical Safety Mat |  | LV Rescue Kit |  | If yes – specify the retrieval method and confirm the method has been tested prior to commencement in Additional Comments below. |  |  |  |  |  |  |  |
|  | Additional Comments, if any |  |  |  |  |  |  |  |  |  |  |  |
|  | Environmental Checks Tick if ‘yes’. |  |  |  |  |  |  |  |  | Comments |  |  |
|  | Work area clear of obstructions and trip hazards? |  |  |  |  |  |  |  |  |  |  |  |
|  | Is the lighting in the work area adequate? |  |  |  |  |  |  |  |  |  |  |  |
|  | Is there a risk of high temperatures? |  |  |  |  |  |  |  |  |  |  |  |
|  | Pre-Start Checks |  |  |  |  |  |  | Comments |  |  |  |  |
|  | Do you have a competent safety observer? Name: ______________________________________________________________ (A competent safety observer must be present when work is carried out on energised electrical equipment, unless the work consists only of testing and a risk assessment shows that there is no serious risk associated with the proposed work.) |  |  |  |  |  |  |  |  |  |  |  |
|  | Have all worker licenses and qualifications been sighted? |  |  |  |  |  |  |  |  |  |  |  |
|  | Site inspection completed prior to commencement, with controls confirmed ? |  |  |  |  |  |  |  |  |  |  |  |
|  | Person/s working are medically and physically fit to perform the task? |  |  |  |  |  |  |  |  |  |  |  |
| Safe Work Australia advises: A person conducting a business or undertaking carrying out electrical work must ensure the work is not carried out on energised electrical equipment unless: - it is necessary in the interests of health and safety that the electrical work is carried out while the equipment is energised (e.g. life-saving equipment to remain energised), or - it is necessary that the electrical equipment to be worked on is energised in order for the work to be carried out properly, or - it is necessary for the purposes of testing to ensure the equipment is de-energised as required by regulation 155, or - there is no reasonable alternative means of carrying out the work. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| PERMIT AUTHORISATION |  |
| --- | --- |
| ISSUER | I, the permit issuer, approve this work at heights (as listed above) to proceed. Name of Permit Issuer: Signature: Date of Issue: |
| PERMIT DECLARATION |  |
| PERMIT HOLDER | As the Permit Holder, I acknowledge and understand the conditions of this permit and: - I am competent to coordinate this work in accordance with this permit and associated SWMS. - I will implement all the controls highlighted above and outlined in the SWMS. Name of Permit Holder: Signature: Date: My signature below acknowledges that I agree and understand the conditions of this permit (other worker/s). Name of worker: _ Signature: Date: Name of worker: _ Signature: Date: Name of worker: _ Signature: Date: Name of worker: _ Signature: Date: |
| FINALISATION |  |
| PERMIT HOLDER | As the Permit Holder, I confirm all work is complete, all workers have signed off the Permit and the worksite has been left clean and tidy. Name of Permit Holder: Signature: Date: |
| FEEDBACK |  |
| NON-COMPLIANCE |  |

|  | Consequences |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Likelihood |  | Insignificant | Minor | Moderate | Major | Severe |
|  | Almost Certain | Moderate | Moderate | High | Extreme | Extreme |
|  | Likely | Low | Moderate | High | High | Extreme |
|  | Possible | Low | Moderate | Moderate | High | High |
|  | Unlikely | Low | Low | Moderate | Moderate | Moderate |
|  | Very Unlikely | Low | Low | Low | Low | Moderate |