## Working at Heights
HRP02 - FOR - 01 - Working at Heights Inspection Template
Work Unit: |  | Date:
Location: |  | Time:
Question | Aspect | Level of Compliance |  |  |  |  | Findings / Comments
|  | FI | MG | NC-R | NC-W | N/A
1 | Are all persons involved in conducting, supervising or authorising working at heights activities trained competent and authorised?
2 | Is there a working at height permit in place when working above 2.0 meters (to base of platform) where: - Personal fall arrest equipment is the primary control; or - The equipment requires a high risk work licence.
3 | Where a working at height permit has been issued, is the permit: - Relevant for the task being undertaken and in date - Issued by an authorised Supervisor - Accepted by a trained and competent Permit Holder - Signed by all workers involved in the task - Accompanied by an appropriate approved risk assessment
4 | If the task involves the use of a mobile elevated work platforms (MEWP), is it fitted with secondary anti-crush guarding device?
5 | Where fall arrest equipment is used as the primary control, has higher order controls such as working from the ground, edge protection, height access systems, barricades, and/or fall protection euipment been considered and determined impractical?
6 | Has all height access equipmnet, anchor points, and fall protection equipment been maintained, inspected prior to use, and tested and tagged to ensure its integrity?
7 | Has the option to perform works at ground level been explored? Can the workers explain why this is impractical?
8 | Where possible , has the option to prefabricate or prepare materials been undertaken offsite to reduce the work required to be undertaken at height?
9 | Where working at heights and higher order controls cannot be used, can working from a platform with suitable fixed handrails (temporary or permanent) be undertaken to reduce exposure to falls?
10 | Where working at heights and higher order controls cannot be used, can works be undertaken from fixed or mobile scaffold?
11 | If the work is being undertaken from a scaffold greater than 4m (to base of platform), does it have a valid scaffold tag attached, signed by a competent scaffolder?
12 | Where working at heights and higher order controls cannot be used, can the work be undertaken from a EWP?
13 | Where working at heights and higher order controls cannot be used, are workers utilising a platform ladder with a back bar when over 2m?
14 | Are horizontal or vertical openings fitted with rated load covers, fixed to surface, and clearly sign posted?
15
Q # | Corrective Action |  |  |  | Responsible Person |  |  | Due Date
Inspection Team
Name |  | Signature:
Name |  | Signature:
Name |  | Signature:
FI = Fully Implemented MG = Minor Gaps (requires improvement but safe to continue) NC-R = Not Compliant - Resources (cease work and rectify) NC-W = Not Compliant - Workers failing (cease work and rectify) N/A = Not assessed