WHSMP11-FOR01: Health and Safety in Design Review

Use this form to screen, review and record Health and Safety in Design (HSiD) for SCU projects, alterations, refurbishments, building services, fixed plant and other design work where SCU commissions or materially influences a design.

Trigger principle: if the project introduces a new design, redesign or material modification that may affect how people construct, commission, use, access, clean, inspect, maintain, repair, modify, decommission, demolish or dismantle a structure, workplace, building service or plant, complete this form. Routine like-for-like maintenance or replacement that does not materially change design or WHS risk does not normally trigger HSiD.

1. Project and Design Details

| Field | Record |
| --- | --- |
| Project / work title |  |
| Campus / site / building / location |  |
| Project number / contract reference |  |
| SCU University Officer / Project Manager |  |
| Design consultant / designer / D&C contractor |  |
| Principal Contractor (if known / applicable) |  |
| Design stage | Pre-design / concept / schematic / detailed / construction change / handover |
| Date HSiD review opened |  |
| Review participants |  |

2. HSiD Trigger Screening

Mark Yes / No / N/A. If any trigger below is Yes, the HSiD review process applies unless the Project Manager records a documented reason why it is not applicable.

| Trigger question | Yes / No / N/A | Comment / rationale |
| --- | --- | --- |
| New building, structure or substantial new part of a structure |  |  |
| Structural alteration or modification |  |  |
| Refurbishment or fit-out changing layout, access, egress, services or work environment |  |  |
| New or materially modified electrical, mechanical, fire, ventilation, hydraulic or other building service |  |  |
| New or materially modified fixed plant/equipment integrated with a building or workplace |  |  |
| Design-and-construct or consultant-led design engagement |  |  |
| Design affects construction method, temporary works or high-risk construction activity |  |  |
| Design affects future access, cleaning, inspection, maintenance, repair or replacement |  |  |
| Design may introduce or alter an SCU Critical Risk or critical control |  |  |
| Design affects decommissioning, demolition or dismantling |  |  |
| Other material design change with WHS implications |  |  |
| Screening outcome | Record |  |
| HSiD triggered? | Yes / No |  |
| If No, reason HSiD is not required |  |  |
| Project Manager / University Officer |  |  |
| Date |  |  |

3. Duty Holders, Designer Capability and Design Information

| Requirement | Evidence / record | Status |
| --- | --- | --- |
| Designer / design PCBU identified |  | Confirmed / Action required |
| SCU commissioning role / client role identified |  | Confirmed / Action required |
| Designer qualifications and experience appropriate to scope |  | Confirmed / Action required |
| Professional registration / licence verified where required |  | Confirmed / N/A / Action required |
| Other PCBUs / duty holders identified |  | Confirmed / Action required |
| Relevant workers / end users / maintainers / HSRs identified for consultation |  | Confirmed / Action required |
| Available site hazard and risk information provided to designer |  | Confirmed / Action required |
| Existing drawings, services, asbestos / hazardous materials / asset information provided where relevant |  | Confirmed / N/A / Action required |
| SCU Critical Risks / HRPs / specialist requirements communicated where relevant |  | Confirmed / N/A / Action required |
| HSiD requirements included in brief / scope / RFQ / tender / consultancy / contract |  | Confirmed / Action required |

4. Gate 1 - Pre-Design / Concept Review

| Review item | Design consideration / decision / evidence | Action / owner / due date |
| --- | --- | --- |
| Intended use, users and foreseeable activities |  |  |
| Construction / installation approach and interfaces |  |  |
| Access and egress during construction and operation |  |  |
| Cleaning, inspection, servicing and maintenance access |  |  |
| Emergency access, evacuation and emergency systems |  |  |
| Existing services / utilities / isolations / energy sources |  |  |
| Asset lifecycle, replacement, modification and decommissioning |  |  |
| Consultation completed with relevant end users / maintainers / workers / HSRs |  |  |
| Higher-order controls or opportunities to design hazards out |  |  |
| Gate 1 conclusion / conditions to progress |  |  |

5. Gate 2 - Design Risk Review

Consider only hazards relevant to the design. The design review should focus on eliminating hazards or minimising risk through design before relying on administrative controls or PPE.

| Hazard / design topic | Relevant? | Design response / control / residual risk | Action / reference |
| --- | --- | --- | --- |
| Structural stability / collapse / loadings |  |  |  |
| Falls / roof access / edges / openings / anchors |  |  |  |
| Access, egress, stairs, ladders and maintenance access |  |  |  |
| Electrical systems / isolation / arc / services |  |  |  |
| Plant, machinery, guarding, isolation and emergency stops |  |  |  |
| Traffic, mobile plant and pedestrian interfaces |  |  |  |
| Fire, emergency systems and emergency access |  |  |  |
| Confined spaces / restricted access / rescue |  |  |  |
| Hazardous chemicals / gases / storage / containment |  |  |  |
| Ventilation, airborne contaminants and occupational hygiene |  |  |  |
| Noise / vibration |  |  |  |
| Hazardous manual tasks / ergonomics / material handling |  |  |  |
| Radiation / lasers / specialist research equipment |  |  |  |
| Biological hazards / containment |  |  |  |
| Security / violence and aggression / personal safety |  |  |  |
| Work environment: lighting, heat, cold, slips, trips, weather exposure |  |  |  |
| Construction sequencing / temporary works / lifting / excavation |  |  |  |
| Demolition / dismantling / decommissioning |  |  |  |
| Other design-specific hazard |  |  |  |

6. Designer Consultation and Safety Information

| Requirement | Record / reference | Status |
| --- | --- | --- |
| Consultation with designer on design-related construction risks completed (where construction work involving a structure is commissioned) |  | Yes / No / N/A |
| Available workplace hazard / risk information provided to designer |  | Yes / No / N/A |
| Designer safety report required under applicable WHS Regulation? |  | Yes / No / To be determined |
| Designer safety report received (where required) |  | Yes / No / N/A |
| Design-specific hazards / residual risks communicated to SCU |  | Yes / No / N/A |
| Relevant hazard and risk information provided to Principal Contractor where required |  | Yes / No / N/A |
| Design review minutes / risk register / other design safety records attached or referenced |  | Yes / No |

7. Design Changes / Construction-Stage Changes

Complete when there is a material design change, substitution, value-management change or construction-stage design change that may affect WHS.

| Change / reference | WHS impact considered | Designer / duty-holder consultation | Decision / controls / approval |
| --- | --- | --- | --- |
| Management of Change interface |  | Record |  |
| Does the change also trigger WHSMP10 Management of Change? |  | Yes / No / N/A |  |
| WHSMP10 record reference (if applicable) |  |  |  |

8. Gate 3 - Final Design / Handover

| Handover requirement | Record / reference | Status |
| --- | --- | --- |
| Material HSiD actions resolved or formally controlled |  | Complete / Outstanding |
| Residual design risks recorded and communicated |  | Complete / N/A |
| Designer safety report received where legally required |  | Complete / N/A |
| As-built drawings / final design documents received |  | Complete / N/A |
| Operation and maintenance manuals received |  | Complete / N/A |
| Commissioning, certification and testing records received |  | Complete / N/A |
| Safe access / isolation / inspection / maintenance requirements transferred into asset systems |  | Complete / N/A |
| Asset / plant registration requirements completed where applicable |  | Complete / N/A |
| Relevant information transferred to operational owner / maintenance team |  | Complete / N/A |
| Outstanding actions entered into approved action / project system |  | Complete / N/A |

9. HSiD Review Outcome and Approval

| Field | Record |
| --- | --- |
| Overall HSiD review outcome | Design may progress / Progress subject to actions / Do not progress |
| Material residual risks / conditions |  |
| Outstanding actions and tracking reference |  |
| SCU Project Manager / University Officer |  |
| Signature / approval record |  |
| Date |  |
| Designer acknowledgement / reference (where applicable) |  |
| Final handover accepted by |  |
| Date |  |

10. Record Management

Retain the completed WHSMP11-FOR01 with the relevant project, procurement or contract record. Supporting records may include design briefs, specifications, designer competency/registration evidence, design risk assessments or registers, consultation and design review records, designer safety reports where required, design change records, as-built drawings, operation and maintenance manuals, commissioning/certification records and handover evidence.

| Document control | Detail |
| --- | --- |
| Document number | WHSMP11-FOR01 |
| Title | Health and Safety in Design Review |
| Associated procedure | WHSMP11: Purchasing and Contracting |
| Operational interface | SCU Contractor Safety Procedure |
| Status | Template |
| Owner / custodian | TBC in accordance with approved WHSMS document-control arrangements |

Reference Basis

• NSW Work Health and Safety Act 2011 - upstream designer and related duties (including s 22).

• NSW Work Health and Safety Regulation 2025 - ss 294-296 (commissioning/design consultation, designer safety report and information to principal contractor).

• Queensland Work Health and Safety Act 2011 - upstream designer and related duties (including s 22).

• Queensland Work Health and Safety Regulation 2011 - ss 294-296.

• Safe design of structures Code of Practice - NSW; Safe design of structures Code of Practice 2021 - Queensland.

• This form records SCU implementation of the HSiD process; it does not replace a designer safety report where one is legally required.